## Slide 1: GRA4MAT GRAVITY for MATISSE
A. Meilland, J. Woillez, F Gonte, G Zins
and GRAVITY, MATISSE Teams, and ESO

## Slide 2
*« What is it? » in southern slang french (from Provençal locution « Qu’es aquò? » )
GRA4MAT : Kesaco?*

## Slide 3
GRAVITY
VLTI
MATISSE
GRAVITY «driving» the VLTI so MATISSE can do … more interesting things
GRA4MAT : Kesaco?

## Slide 4: GRA4MAT : Kesaco?
Cophased
Coaligned
GRAVITY-FT
GRAVITY-SC
Not used
MATISSE-LM
MATISSE-N
Cophased
Coaligned
Field-tracking
Pupil-tracking (off)
Fringe-tracking
VLTI
DLs
IRIS
Not used
Tels
FSM & VCM
Preliminary tests in May & June 2019
Technical runs AT in September & October
Unofficial commissioning during October run
First official AT commissioning in January 2020
First UT run in March 2020
SV run in April (to be confirmed)
Runs planned for P106 as well
All things I will present are very preliminary results !

## Slide 5: GRA4MAT : How does it works?
Cophased
Coaligned
GRAVITY-FT
GRAVITY-SC
Not used
MATISSE-LM
MATISSE-N
Cophased
Coaligned
Fringe-tracking
VLTI
DLs
IRIS
Not used
Tels
FSM & VCM
MATISSE & GRAVITY are roughly cophased during the day
Co-Alignment is done at the begining of the night on the first target :
  Stars are centered in MATISSE using FSM
  GRAVITY compensate internally and then takes control of the FSM to field-track
For each target
  GRAVITY search and find the fringe
  Fine MATISSE/GRAVITY cophasing at begining of observation (only useful for LOW resolution)
Field-tracking
Pupil-tracking (off)

## Slide 6: GRA4MAT : Compared to MATISSE alone
Cophased
Coaligned
GRAVITY-FT
GRAVITY-SC
Not used
MATISSE-LM
MATISSE-N
Cophased
Coaligned
Fringe-tracking
Coherencing
MATISSE-LM
MATISSE-N
Cophased
Coaligned
Coaligned
VLTI
DLs
IRIS
Not used
Tels
FSM & VCM
VLTI
DLs
IRIS
Tels
FSM & VCM
Lab-Guiding
Pupils check
Field-tracking
Pupil-tracking (off)

## Slide 7: MATISSE standalone self-coherencing
OPD measured at each frame (or couple of frames)
Done simultaneously on both detectors (LM and N)
Fringes can be integrated coherently (complex number)
and/or incoherently (modulus) to enhance SNR
One detector (the MASTER) sends commands to the VLTI-DL
if the measured OPD is larger than a limit (2µm)
if SNR is higher than a limit
Commands proportional to measured OPD (x0.5).
MATISSE coherence-length is :
L : from 120µm in LOW to 4mm in HIGH
N : 300µm in LOW and 2mm in HIGH

## Slide 8
OPD measured at each frame (or couple of frames)
Done simultaneously on both detectors (LM and N)
Fringes can be integrated coherently (complex number)
and/or incoherently (modulus) to enhance SNR
One detector (the MASTER) sends commands to the VLTI-DL
if the measured OPD is larger than a limit (2µm)
if SNR is higher than a limit
Commands proportional to measured OPD (x0.5).
MATISSE coherence-length is :
L : from 120µm in LOW to 4mm in HIGH
N : 300µm in LOW and 2mm in HIGH
MATISSE standalone self-coherencing

## Slide 9
We cannot increase DIT beyond ≈3-4 times coherent time  limit ≈ 100ms in normal conditions in L
τ0V (ms) | 1 | 2 | 4 | 8
τ0L (ms) | 8 | 16 | 32 | 64
τ0N (ms) | 30 | 60 | 120 | 240
Coherence Time in V, L and N bands
Assuming
Kolmogorov
turbulence
About the coherence time
DIT = 75ms

## Slide 10: GRA4MAT : GRAVITY Tracking quality
GRAVITY tracking residual ≈150nm

λ/20 for MATISSE at 3µm
But « sometimes » 2µm fringe jumps
Depends on the seeing and τ0
And target magnitude
2 µm = λ/2 at 4 µm !!!
So this is killing the constrast
Need to be properly quantifed
during commisionning
Limits the longest DIT possible
Implement frame selection in MATISSE
Don’t look at the oscillations
-- it’s just MATISSE internal modulation --
MATISSE measured OPD as function of time

## Slide 11: GRA4MAT : What about chopping?

## Slide 12: GRA4MAT : What about chopping?
MATISSE measured OPD as a function of time for a full sequence (non-chopped + chopped)
Only the first frame affected  GRAVITY « centers back » fringes in less than 40ms
SKY
TARGET
SKY
TARGET
TARGET
SKY
TARGET
SKY
TARGET

## Slide 13: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 14: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 15: GRA4MAT : What gains do we expect?
  Improve spectral coverage in MED-LM and HIGH-L modes
First GRA4MAT test on the Be star δ Cen 2019-05-30 DIT = 10s

## Slide 16: GRA4MAT : What gains do we expect?
  Improve spectral coverage in MED-LM and HIGH-L modes
Current spectral window of 0.16μm
with DIT=0.111s
First GRA4MAT test on the Be star δ Cen 2019-05-30 DIT = 10s

## Slide 17: GRA4MAT : What gains do we expect?
  Improve spectral coverage in MED-LM and HIGH-L modes
Current spectral window of 0.16μm
with DIT=0.111s
First GRA4MAT test on the Be star δ Cen 2019-05-30 DIT = 10s
Brα Line Profile (+ Hu 9)
Visibility
Differential Phase

## Slide 18: GRA4MAT : What gains do we expect?
  Improve spectral coverage in MED-LM and HIGH-L modes
First GRA4MAT test on the Be star δ Cen 2019-05-30 DIT = 10s
1.3s needed to reading the full detector

## Slide 19
GRA4MAT : What gains do we expect?
The Binary Be star Achernar
  Improve spectral coverage in MED-LM and HIGH-L modes
This improves also the spatial coverage

## Slide 20: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 21: GRA4MAT : What gain we expect?
  Improve SNR in L band and push limiting magnitude
For a constant total integration time : SNR on V² ∝ if not dominated by background noise
Background noise >> Detector noise for a DIT :
2700 ms at 3.5 μm in LOW  potential gain up to 5 in flux
54000 ms at 3.5 μm in MED  potential gain up to 22 in flux !
130 ms at 4.5 μm in LOW  close to the current DIT in LOW-LM (i.e 111ms)
2600 ms at 4.5 μm in MED  potential gain up to 5 in flux
When dominated by background noise longer DIT is equivalent to coherent integration with shorter DITs.

## Slide 22: GRA4MAT : What gain we expect?
  Improve SNR in L band and push limiting magnitude
Limit (rms = 10%) around 0.6Jy in MED (currently offered 8Jy)  gain of factor ~ 13
2.5Jy per px for 1min
0.6Jy per sp. Chan. for 1 OB

## Slide 23: GRA4MAT : What gains do we expect?
  Improve SNR in L band and push limiting magnitude
DIT=0.111s
DIT=3s
Limit around 0.1-0.2Jy for accurate differential phase, closure phase and coherent flux in LOW-L
Currently offered 1Jy  gain of factor 5 in Flux
L = 0.3Jy (Lmag = 7.5) calibrator with ATs

## Slide 24: GRA4MAT : What gains do we expect?
  Improve SNR in L band and push limiting magnitude
MODE | MATISSE alone | GRA4MAT
LOW | 1Jy for 0.111s | 0.2Jy for 3s
MED | 8Jy for 0.111s | 0.6Jy for 10s
HIGH | 30Jy for 0.111s | (3Jy for 10s in theory)
But Photometry problem below ~10 Jy without Chopping

biasing visibility measurement
but
Differential phase, Closure Phase, and coherent flux not affected
Preliminary limiting flux (for 1min exposure)

## Slide 25: GRA4MAT : What gains do we expect?
  Improve SNR in L band and push limiting magnitude
Limit (SNR=3) around 0.3-0.9Jy in MED (currently offered 4-8Jy)  gain of factor 10
YSO/B[e] star FS Cma (HD45677) : L=20 Jy in HIGH

## Slide 26
GRA4MAT : What gain we expect?
Classical Be star K CMa (L ≈ 12Jy)
B[e] or YSO : HD50138 (L ≈ 15Jy)
  Improve SNR in L band and push limiting magnitude

## Slide 27
GRA4MAT : What gains do we expect?
  Improve SNR in L band and push limiting magnitude

## Slide 28: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 29: GRA4MAT : What gains do we expect?
  Enable the use of VHIGH mode which requires long DITs except for few objects
VHIGH mode (R≈4000) will be commissioned next week
Sensitivity at least 5 times lower than HIGH
This mode needs an external fringe tracker to be fully operational
DIT | 111ms | 10s
ATs | 150 Jy | 15Jy
UTs | 10Jy | 1Jy
Potential limiting flux with VHIGH (in the best case)

## Slide 30: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 31: GRA4MAT : What gain we expect?
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
Instrumental vis level
GRA4MAT
τ0=2.5ms
MATISSE alone
τ0=2.5ms
GRA4MAT
τ0=1.5ms
Calibrator observed under very bad seeing (1.5-2.5’’) in MED 111ms
VLTI is normally in
standby for such bad seeing

## Slide 32: GRA4MAT : What gains do we expect?
  Higher stability (less dependence on the seeing) and thus better calibrated data
Instrumental vis level
High and stable seeing
Seeing deteriorating during the night

## Slide 33: GRA4MAT : What gains do we expect?
Allow longer DITs in L:
  Improve spectral coverage in MED-LM and HIGH-L modes
  Improve SNR in L band and push limiting magnitude
  Enable the use of VHIGH mode which requires long DITs except for few objects
Improve the transfer function in L (and slightly in N) :
  Higher instrumental visibility by stabilizing fringes even for the shorter DITs
  Higher stability (less dependence on the seeing) and thus better calibrated data
Allow longer “blind” coherent integration in N
  Improve N band sensitivity

## Slide 34
  Improve N band sensitivity with longer “blind” coherent integration in N
N band is fully dominated by sky emission.
DIT is set to 20ms to avoid saturation
Longer DITs are “simulated” in DRS => coherent integration
Equivalent to longer DIT if not detector noise dominated
Maximum integration time ~ 2x τ0 ~ 0.2-0.5s
If fringes are fully “locked” by an external fringe tracker
integrate “blindly” longer time up to full exposure
Theoretical gain of a factor ~ 10 but
chromatic OPD between K and N should not vary during exposure more than 2µm
No “fringe jump” during exposure
Laboratory fringes with 1000Jy source
GRA4MAT : What gains do we expect?

## Slide 35: GRA4MAT : Conclusion
Should be offered on ATs for next call for proposal (P106) without chopping
    No V² for N-band and for LM band for faint targets (5-15Jy)
    Improving MED and HIGH
    spectral coverage  full windows
    SNR and limiting Flux (by factor up to 10 for DIT=10s)
    Improving Corr. Flux in LOW-L by factor of 5 for DIT=3s
UTs and Chopping should be offered in P107 or P108
  Final performance (including V²)
Effect in N-band (“blind” coherent integration) still needs to be investigated
Next step will be GRA+MAT
  GRAVITY-Science & MATISSE simultaneously
  Data from 2 to 13µm