## Slide 2
MATISSE : 4-beams combiner in the LMN bands (2.8-13.5μm)
High angular resolution + spectral resolution (from 20 to 4000)
Notes: 2

## Slide 3
MATISSE : 4-beams combiner in the LMN bands (2.8-13.5μm)
High angular resolution + spectral resolution (from 20 to 4000)
Main science case
proplanetary disks
But also
Active Galactic Nuclei (AGNs)
Mass loss and dust formation
Reconstruct
spectrally resolved images
of circumstellar environment
and stellar surfaces
Notes: 3

## Slide 4
Concept of the instrument
Spatial filter
Delay lines
Anamorphic optics
Filters
Polarizers
Dispersive elements
Camera optics
OPD
modulation
L band
N band
Spectral
separation
Anamorphic optics
Beam commutation
3D 9D 6D
Beam configuration
Notes: 4

## Slide 5
Spatial filter
Delay lines
Interferometry/ photometry splitter
Anamorphic optics
Photometry Units
Filters
Polarizers
Dispersive elements
Camera optics
3D 9D 6D
OPD
modulation
Beam configuration
L band
N band
Spectral
separation
Anamorphic optics
Beam commutation
Thermal background + photometry for each beam
+
Concept of the instrument
Notes: 5

## Slide 6
Observing Modes
Notes: 6

## Slide 7
MATISSE FUNCTIONS
ARTICIAL SOURCES
BEAM COMMUTATION
BEAM ANAMORPHISM (1)
CO-ALIGNMENT
CO-PHASING
BEAM SELECTION
SPATIAL FILTERING
BEAM CONFIGURATION
BEAM ANAMORPHISM (2)
SPECTRAL FILTERING
POLARIZATION SELECTION
SPECTRAL DISPERSION
BEAM COMBINATION
DETECTION
OPD MODULATION
SPECTRAL SEPARATION
PHOT/INTERF SPLITTING
VLTI
ADAPTIVE OPTICS
TIP/TILT CORRECTION
PUPIL MONITORING
MATISSE
L band
Photometry
N band
Interferometry
FRINGE TRACKING
Notes: 7

## Slide 8
MATISSE in the focal laboratory
Installed in the VLTI Focal Lab between the end of November and begining of December 2017

## Slide 9
MATISSE in the focal laboratory
  Instrument FDR Garching 25 – 27 April 2012

## Slide 10
The feeding Optics

## Slide 11
MATISSE Layout

## Slide 12
The WOP (Warm Optic table)

## Slide 13
The Cold Optics Benchs (COBL & COBN)

## Slide 14
The Cold Optics Benchs (COBL & COBN)

## Slide 15
SOFTWARE : the OS Panel

## Slide 16
SOFTWARE : the Fringes Panel

## Slide 17
SOFTWARE : the Fringes Panel

## Slide 18
Current Status
AIV started in October
First internal fringes on calibration source on Jan 18
First light on-sky planned around February 20
AIV Sky run (= Commisioning 0) from March 8 to 26.
Commisioning runs unit Q4 2018 (including with NAOMI)
Science Verification late 2018 or early 2019
Foreseen to be offered in 2019
GRAV4MAT mode (using GRAVITY fringe tracker for MATISSE) in 2019